Site Review Report # [Report Number] - Rev 0

| Project Name: | [Project Name] | Date of Review: | [YYYY-MM-DD] |
| --- | --- | --- | --- |
| Project Location: | [Site Address] | Time of Review: | [HH:MM] |
| Project #: | [Project Number] | Date of Issue: | [YYYY-MM-DD] |

| Review By: |  |  |
| --- | --- | --- |
| [Reviewer Name] | [Firm Name] | [reviewer@firm.example] |

| Present: |  |  |
| --- | --- | --- |
| [Person on Site] | [Company] | [email@example.com] |

| Distribution: |  |  |
| --- | --- | --- |
| [Recipient Name] | [Company] | [recipient@example.com] |

Area Reviewed

- [First area reviewed - e.g. ground floor slab on grade reinforcement and dowels]

- [Second area - e.g. perimeter wall vertical reinforcement and lap splices]

- [Third area - e.g. shear wall boundary elements at gridline B]

Observation

- [Observation describing as-built condition relative to issued-for-construction drawings, OBC clause, or referenced standard. Note the location, the condition observed, and whether it conforms or requires action.]

- [Second observation - e.g. dowel embedment at gridline 4/B measured at 175 mm against the specified 200 mm. Contractor to extend embedment per S-301 detail 4 prior to slab pour.]

- [Third observation - e.g. rebar congestion at column C2 head precluding consolidation; engineer to review pre-pour and confirm acceptability or issue revised reinforcement layout.]

We trust that this is the information you require at this time. Should you have any questions or concerns, please do not hesitate to contact our office.

Yours very truly,

[Firm Name]

[Signer Name], P.Eng.

[Engineer Title - e.g. Senior Structural Engineer]

[signer@firm.example]

Tel. [555-555-5555]

Photos

[Insert photo here - 6 in wide x 4.5 in tall recommended]

Photo #1: [Caption describing what the photo shows and where it was taken.]

[Insert photo here - 6 in wide x 4.5 in tall recommended]

Photo #2: [Caption.]